Highlights

Manuscript APEN-D-26-09220 — Applied Energy

- Battery–hydrogen is cheaper than PV–diesel above 378 USD/MWh delivered diesel

- PV capital cost—not converter efficiency—sets the cost–resilience threshold

- Matched-backbone test shows the resilience edge is intrinsic to H2 storage

- Any diesel start-up delay collapses diesel–battery survivability to zero

- Reduced-order frequency screen confirms islanded dynamic feasibility

Each highlight is within the 85-character Applied Energy limit.